## ROUTINE
Routine Maintenance Schedule and Checklist
LHA NAME: |  |  | DEVELOPMENT:
Landscaping and Grounds Routine Maintenance
Building Exterior
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Walk property-pick up trash | Daily | Staff | bar: Jan to Dec
Mow lawn (Mulching lawnmower); edge if needed | Weekly / Seasonal | Staff | bar: Apr to Oct
Rake leaves (Fall, Spring) | Bi-Annually | Staff / Vendor | bar: Mar; Oct
Snow (Shovel, Plow), Treat (Walkways) | Daily / Seasonal | Staff / Vendor | bar: Jan to Mar; Nov to Dec
Seasonal cleaning (Spring and Fall) | Start & End of Season | bar: Mar; Oct
Building Routine Maintenance
Building Interior
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Hallways, Stairs, Lobbies, Community Rm - Vacuum carpet, mop floors, sweep and Vacuum public spaces | Weekly | Staff | bar: Jan to Dec
Wash windows in public areas | Weekly | Staff | bar: Jan to Dec
Toilets - Clean public toilets/restrooms | Daily / Weekly | Staff | bar: Jan to Dec
Clean Staff toilets/restrooms | Daily / Weekly | Staff | bar: Jan to Dec
Offices- Sweep / Vacuum offices | Weekly | Staff | bar: Jan to Dec
Light Bulbs - Replace if burnt out in common areas and offices | Monthly | Staff | bar: Jan to Dec
Elevators- Clean cab walls and doors | Daily / Weekly | Staff | bar: Jan to Dec
Sweep / Mop / Vacuum elevator floors | Daily / Weekly | Staff | bar: Jan to Dec
Trash Chutes, Dumpsters- Clean trash chutes | Daily / Weekly | Staff | bar: Jan to Dec
Clean dumpster areas | Twice a week | Staff | bar: Jan to Dec
Other Routine Maintenance
Inventory, Meeting, Training, Tools
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Maintain Authority inventory | Quarterly | Staff | bar: Mar; Jun; Sep; Dec
Attend Staff meetings | Quarterly | Staff | bar: Mar; Jun; Sep; Dec
Attend Training sessions | Annual | Staff | bar: Apr
Clean and sharpen tools | Monthly | Staff | bar: Jan to Dec
Sharpen mower blades (after each Mowing) | Weekly / Monthly | Staff | bar: Apr to Sep
NOTE: Routine (and Emergency) Work Orders are generated will be created due to results from Inspections Maintenance Tasks.

## PREVENTIVE
LHA must customize the following tasks for their particular situation when using this sample template.
Preventive Maintenance Schedule and Checklist
LHA NAME: |  |  | DEVELOPMENT:
Buildings & Grounds Preventive Maintenance
Building Envelope
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
FLAT ROOF - Clear drains/scuppers, debris | Monthly / Bi-Annually | Staff / Vendor | bar: Jan to Dec
Check cracks, water pooling, leaks, flashing | Monthly | Staff | bar: Jan to Dec
Reseal Joints | Every 5yrs | Vendor | bar: May
SLOPED ROOF - Remove moss, clear debris from gutters/downspouts | Bi-Annually | Staff / Vendor | bar: Apr; Oct
Recaulk roof flashing | Every 2 Yrs / As Needed | Staff / Vendor | bar: Apr
WALLS - Repair mortar joints, Replace Bricks (as needed) | Annually / As Needed | Staff / Vendor | bar: Apr
WINDOWS - Wash, re-caulk if needed | Annually | Staff / Vendor | bar: Apr
DOORS - Wash, check weather stripping, re-paint as needed | Annually | Staff | bar: Apr
DECKS, EXT STAIRS - Wash | Annually | Staff | bar: Apr
FOUNDATION - Check cracks, vent covers | Annually | Staff | bar: Apr
EXTERIOR SURFACES, FIXTURES - Refinish | Every 10yrs | Staff / Vendor
Building Interior
WOOD FLOORS - Refinish, polish | As Needed | Staff
VINYL FLOORS - Refinish, polish | As Needed | Staff
CEILINGS - Refinish | As Needed | Staff / Vendor
WALLS - Refinish | As Needed | Staff / Vendor
WALLS - Recaulk (kitchen and bath) | As Needed | Staff / Vendor
FLOORS - Professionally clean common area carpet | Annually | Vendor | bar: Apr
WALLS - Wash off hand prints and dirt in high traffic areas | Weekly | Staff | bar: Jan to Dec
Pest Control
PEST CONTROL - Notify residents, Apply Chemicals | Monthly / As Needed | Vendor | bar: Jan to Dec
Common Kitchen, Laundry
KITCHEN - Clean Range, Microwave, Refrigerator | Monthly / Annually | Staff | bar: Jan to Dec
GAS STOVE - Valve and line cleaning | Annually | Vendor | bar: Sep
LAUNDRY - Wipe surfaces, empty trash, mop floor, clean behind machines, check lint traps and clean as needed | Weekly | Staff | bar: Jan to Dec
LAUNDRY - Professionally clean dryer vents | Annually | Vendor | bar: Sep
Buildings & Grounds Preventive Maintenance
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Trash / Recycling Room
Clean, mop floor, wash out containers | Weekly | Staff | bar: Jan to Dec
Cans (Trash / Recycle) - Regualr pickup | Bi-Weekly / Weekly | Staff | bar: Jan to Dec
Landscaping
Aerate lawn/overseed/top dress with compost | Annually | Staff | bar: Apr
Mulch landscape beds | Annually | Staff | bar: Apr
Shrubs, Trees (remove broken, dead, deformed branches) | Weekly / Seasonal | Staff | bar: Jan to Dec
Remove weeds (don’t let weeds go to seed) | Daily | Staff | bar: Jan to Dec
Protect Shrubs (winter) | Seasonally | bar: Oct to Nov
Pest / Disease - Monitor, Integrated Pest Mgmt & Natural Gardening. DON’T use products harmful to environment | Monthly | Staff | bar: Apr to Oct
Watering/Irrigation - soak (dry out before watering again) | Weekly / Seasonal | Staff | bar: Apr to Oct
Irrigation System
Spring (Start) / Fall (Shutdown) - blow out lines | Bi-Annually | Vendor | bar: May; Oct
Grounds
Signage - inspect, clean, repair as needed | Monthly | Staff | bar: Jan to Dec
Walks, Paving, Curbs - monitor, clean, repair as needed | Monthly | Staff | bar: Jan to Dec
Parking Lot - Monitor condition, clean and reseal as needed | Annually | Staff / Vendor | bar: Sep
Fence - monitor condition, clean and repaint as needed | Annually | Staff | bar: May
Mechanical, Electrical Systems Preventive Maintenance
HVAC (Heating, Ventilation, Air Conditioning)
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
FURNACE, AHU - Filter Changing / Cleaning, Service | Annually | Staff / Vendor | bar: Sep
FCU, Window AC Filters, Duct Cleaning - Clean, Replace as needed | Bi-Annually | Staff | bar: May; Nov
Air Source Heat Pumps - Check Oil | Monthly | Staff | bar: Jan to Dec
Co-Gen System | Bi-Annually | Vendor | bar: May; Nov
Water system
Test / Check Water Temperatures | Bi-Annually / Annually | Staff | bar: May; Oct
Lubricate valves and pumps | Bi-Annually | Vendor | bar: May; Oct
Clean, Test integrity, Change Washers | Annually | Staff / Vendor | bar: Sep
Test pressure | Weekly | Staff | bar: Jan to Dec
Plumbing
Toilets - check for leaks, running water | Annually | Staff | bar: Jun
Faucets and shut-offs - check for leaks, drips | Annually | Staff | bar: Jun
Boilers/HW Tanks - Inspect, service | Quarterly | Staff / Vendor | bar: Mar; Jun; Sep; Dec
Pumps - sump pump in basement, confirm operational | Weekly / Monthly | Staff | bar: Jan to Dec
Fire Sprinklers
Inspect, Test Backflow | Annually | Vendor | bar: Jun
Sanitary system
Clean, Lubricate valves and pumps | Bi-Annually | Vendor | bar: May; Oct
Replace toilet mechanism | Every 5yrs | Staff / Vendor | bar: Sep
Test system integrity | Annually | Staff / Vendor | bar: Sep
Storm drain system
Clean, Lubricate valves and pumps | Bi-Annually | Vendor | bar: May; Oct
Test system integrity | Annually | Staff / Vendor | bar: Sep
Electrical system
Tighten connections in transformers and junctions | As Needed | Vendor | Jan: Recommended by DHCD's Handbook. However, if this was never performed, then it should be performed by licensed EC after an infrared test by a Testing Company
Clean, Test | As Needed | Vendor
Fire Alarms
System (Hardwired) - Clean, Test | Annually | Vendor | bar: Jul
Fire Extinguishers - Test, Recharge, Replace (if necessary) | Annually | Vendor | bar: Jul
Mechanical, Electrical Systems Preventive Maintenance
Generator
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Test | Monthly | Automatic | bar: Jan to Dec
Lubricate | Every 10hrs use | Vendor
Small Generators | Monthly | Staff | bar: Jan to Dec
Emergency Lighting (Not on Generator)
Recharge batteries | Annually | Staff | bar: Jul
Test | Monthly / Quarterly | Staff | bar: Jan to Dec
ALL Light Fixtures
Lighting - clean fixtures, replace lamps as needed | Monthly | Staff | bar: Jan to Dec
Security systems
Test system | Monthly | Staff | bar: Jan to Dec
Elevator system
Test lights | Monthly | Staff | bar: Jan to Dec
Mechanical - professional service contract | Quarterly / Annually | Vendor | bar: Mar; Jun; Sep; Dec
Solid waste disposal system
Clean compactors, Lubricate machinery | Monthly | Staff | bar: Jan to Dec
Lubricate trash chute doors | Bi-Annually | Staff | bar: Apr; Oct
Dwelling Unit Preventive Maintenance
Heat and smoke detectors
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Battery Heat / Smoke Detectors - Test, Change batteries | Annually | bar: Sep
Test hardwired detectors (with System) | Annually | bar: Sep
Pest control
Notify Residents, Install Chemicals | Monthly / As Needed | Vendor | bar: Jan to Dec
Floors
Refinish floors | At Turnover / As Needed
Ceilings
Refinish | At Turnover / As Needed
Walls
Refinish | At Turnover / As Needed
Recaulk (kitchen and bath) | At Turnover / As Needed
Kitchen fixtures
KITCHEN - Clean Range, Microwave, Refrigerator | Annually | bar: Sep
GAS STOVE - Valve and line cleaning | Annually | Vendor | bar: Sep
UNIT APPLIANCES - clean interior and exterior, vacuum under and behind | Annually | Resident Staff | bar: Jun
HVAC fixtures
Air Source Heat Pumps - Vacuum, Clean Condenser | Annually | Staff | bar: Oct
Unit Forced Hot Water - Check for Air locks, Bleed | Annually | Staff / Vendor | bar: Sep to Oct
Unit Electrical Baseboard - Vacuum around fins | Annually | Resident | bar: Oct
Unit Forced Hot Air - Vacuum Vents | Annually | Resident | bar: Oct
Unit Bathroom Fans - Inspect, Vacuum, Clean covers | Annually | Resident | bar: Jun
Machine Preventive Maintenance
Automobile
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Lubricate, Change Filters | Per Manufacturers Recommendations | Vendor | bar: Oct
Change tires | Rotate Annually | Vendor | bar: Oct
Replace brakes, other fixed life parts | Per Manufacturers Recommendations | Vendor | bar: Oct
Change brushes on sweepers | Annually | Vendor | bar: Oct
Annual Sticker (Vehicles, Trailers) | Annually (Varies) | Vendor
Small Engines
ALL WORK by Service Contract | Per Manufacturers Recommendations | Vendor | bar: Oct
OIL - Check Level , Change, Replace Filter | Per Manufacturers Recommendations | Staff | bar: Oct
Air Filter - Replace Foam/Paper Air cleaner | Per Manufacturers Recommendations (OR Every Season) | Staff | bar: Oct
Replace Spark Plug, In-line Fuel Filter | Per Manufacturers Recommendations (OR Every 100 Hrs) | Staff | bar: Oct
Prep Work Season Start, Season End) | Bi-Annually | Staff | bar: Mar; Oct
Snow Removal and Sanding Equipment | Annually | bar: Oct

## INSPECTIONS
Inspections Schedule and Checklist
LHA NAME: |  |  | DEVELOPMENT:
Buildings & Grounds Inspections
Building Envelope
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
ROOFS - Sloped/Flat and EPDM/Shingle/Metal | Bi-Annually / Annually | Staff | bar: Apr; Oct
ROOFS - Cracks, water pooling, leaks, flashing | Bi-Annually / Annually | Staff | bar: Apr; Oct
WALLS - Brick, Vinyl, Shingle | Annually | Staff | bar: Apr
WINDOWS, DOORS - Seals, Operators | Annually | Staff | bar: Apr
DECKS, EXT STAIRS - Wash | Annually | Staff | bar: Apr
FOUNDATIONS - Cracks, vent covers | Annually | Staff | bar: Apr
Building Interior
FLOORS - Wood, Vinyl, Carpet | Annually | Staff | bar: Apr
CEILINGS | Annually | Staff | bar: Apr
WALLS | Annually | Staff | bar: Apr
Pest Control
PEST CONTROL - Pests | Monthly / As Needed | Vendor | bar: Jan to Dec
Common Kitchen, Laundry
KITCHEN - Inspect Appliances | Annually | Staff | bar: Oct
GAS STOVE - Inspect | Annually | Vendor | bar: Oct
Kitchen, Bath - Cabinets, fixtures | Annually | Staff | bar: Oct
LAUNDRY - Machines operational | Bi-Annually | Staff | bar: Apr; Oct
Trash / Recycling Room
Trash Container leaks | Monthly | Staff | bar: Jan to Dec
Trash Chute doors | Monthly | Staff | bar: Jan to Dec
Trash / Recycle Cans | Weekly / Bi-Monthly | Staff | bar: Jan to Dec
Landscaping
Lawn, Shrubs, Landscape Beds | Annually | Staff | bar: Apr
Pest / Disease - Monitor, Integrated Pest Mgmt | Monthly | Vendor | bar: Mar to Oct
Irrigation System
Heads, Controls - Check | End/Start of Season | Staff | bar: Apr; Oct
Grounds
Signage - Inspect | Monthly | Staff | bar: Jan to Dec
Walks, Paving, Curbs - Cracks, broken curbs | Monthly | Staff | bar: Jan to Dec
Parking Lot - Cracks, and Water Ponding | Bi-Annually | Staff | bar: Mar; Sep
Fence - Holes, Falling over | Bi-Annually | Staff | bar: Mar; Sep
Mechanical, Electrical Systems Inspections
HVAC (Heating, Ventilation, Air Conditioning)
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
FURNACE, AHU - Condenser clear of leaves and other debris | Bi-Annually | Staff / Vendor | bar: Apr; Oct
FCU, Window AC Filters - Inspect for season | Bi-Annually | Staff | bar: Apr; Oct
Air source Heat Pumps - Check Coil | Monthly | Staff | bar: Jan to Dec
Co-Gen System - Inspect | Bi-Annually | Vendor | bar: Apr; Oct
Water system
Inspect - Valves, Pumps | Bi-Annually | Staff | bar: May; Oct
Test pressure | Weekly | Staff | bar: Jan to Dec
Plumbing
Toilets - Leaks | Annually | Staff | bar: Jun
Faucets and shut-offs - Leaks | Annually | Staff | bar: Jun
Boilers/HW Tanks - Leaks | Quarterly | Staff | bar: Mar; Jun; Sep; Dec
Pumps - Operating | Monthly | Staff | bar: Jan to Dec
Fire Sprinklers
Inspect, Test Backflow | Annually | Vendor | bar: Apr
Sanitary system
Inspect - Valves, Pumps | Bi-Annually | Vendor | bar: May; Oct
Test system integrity | Annually | Staff / Vendor | bar: Sep
Storm drain system
Inspect - Valves, Pumps | Bi-Annually | Vendor | bar: Apr; Oct
Test system integrity | Annually | Staff / Vendor | bar: Sep
Electrical system
Inspect connections in panels | AS Needed | Recommended by DHCDs Handbook. Perform during major work that includes panel changes
Fire Alarms
System (Hardwired) - Inspect Common / Public Areas | Bi-Annually | Staff / Vendor | bar: Apr; Oct
System (Hardwired) - FA Panel for Trouble | Annually | Staff / Vendor | bar: Sep
Fire Extinguishers - Check Gauge for Replacement need | Annually | Vendor | bar: Sep
Generator
Test | Monthly | Automatic | bar: Jan to Dec
Emergency Lighting (Not on Generator)
Inspect and Test | Monthly / Quarterly | Staff | bar: Jan to Dec
ALL Light Fixtures
Lighting - Lights working | Monthly | Staff | bar: Jan to Dec
Security systems
System working | Monthly | Staff | bar: Jan to Dec
Elevator system
Elevator Equipment | Bi-Annually / Annually | Vendor | bar: Apr; Oct
Test lights | Monthly | Staff / Vendor | bar: Jan to Dec
Solid waste disposal system
Compactor machinery, trash Chute | Quarterly | Staff | bar: Mar; Jun; Sep; Dec
Machine Inspections
Automobile
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Check Oil | Weekly | Staff | bar: Jan to Dec
Check tires | Monthly | Staff | bar: Jan to Dec
Check Brakes | Weekly | Staff | bar: Jan to Dec
Registration | Annually (Varies) | Staff
Small Engines
Check Oil Level | Every 5 Hrs | Staff | bar: Mar to Aug
Check Fuel (in Tank and Stored) | After Use, Season End/Start | Staff | bar: Feb to Sep
Inspect Machine / Equipment | Before and after Use | Staff | bar: Mar to Aug
NOTE: Inspections will generate additional Routine (and Emergency) Work Orders.

## Unit Inspection Schedule
Dwelling Unit Inspections Schedule and Checklist
LHA NAME: |  |  | DEVELOPMENT:
Pondside Court
TASK | Frequency | By | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Buildings 1 & 2 | Annually | Staff | bar: Jan
Buildings 3 & 4 | Annually | Staff | bar: Feb
Buildings 5 & 6 | Annually | Staff | bar: Mar
Buildings 7 & 8 | Annually | Staff | bar: Apr
Valley Terrace
Buildings 1 & 2 | Annually | Staff | bar: May
Buildings 3 & 4 | Annually | Staff | bar: Jun
Buildings 5 & 6 | Annually | Staff | bar: Jul
Buildings 7 & 8 | Annually | Staff | bar: Aug
Scattered Sites
101 Pembroke St. | Annually | Staff | bar: Sep
62 Apple Lane | Annually | Staff | bar: Sep
27 Peach Street | Annually | Staff | bar: Oct
Heat and smoke detectors
Battery Heat / Smoke Detectors - Inspect Condition | Bi-Annually / Annually | Staff | bar: Apr; Oct
Inspect System Heat detectors (in Units) | Bi-Annually / Annually | Vendor | bar: Apr; Oct
Pest control
Inspect Unit | Monthly / Quarterly | Vendor | bar: Jan to Dec
Floors, Ceilings, Walls
Floors (Wood, Vinyl, Tile) | Bi-Annually / Annually | bar: Apr; Sep
Kitchen fixtures
KITCHEN - Inspect Appliances | Bi-Annually / Annually | Staff | bar: Apr; Sep
GAS STOVE - Inspect | Bi-Annually / Annually | Vendor | bar: Sep
Kitchen, Bath - Cabinets, fixtures | Bi-Annually / Annually | Staff | bar: Apr; Sep
HVAC fixtures
(Heat Pumps, Bath Fans, Forced Hot Air, Baseboard)
Fans, Baseboard, Vents - Inspect (dust, debris) | Annually | Staff | bar: Apr; Sep